EQUIPMENT & ASSET INVENTORY LOG

Receiving & Verification Report • Delivered Consignment

| Date Received: September 3, 2026 | Status: Pending Formal Allocation / Storage |
| --- | --- |
| Inspection: Visual On-Site Verification Completed | Total Line Items: 13 Types (28 Total Units) |

| Tag # | Item Description | Specifications / Model | Qty | Visual Identification & Condition |
| --- | --- | --- | --- | --- |
| INV-001 | Centrifugal Water Pump | Model: CPm 158 (0.75 kW / 1.0 HP) Stainless steel impeller, Made in Italy | 1 | Factory boxed unit, cardboard packaging intact. |
| INV-002 | Gas Cooktop / Hob | Ariston 4-Burner Built-in/Countertop Hob Rotary dial ignition controls | 1 | Black enamel body, used condition, ready for mount. |
| INV-003 | Cooker Frame Base | Custom rectangular metal/wood framework | 1 | Structural base fitted directly beneath the cooktop hob. |
| INV-004 | Outdoor Gas Patio Heaters | Mushroom / Umbrella radiant patio heaters Cylindrical glass flame guard + deflector hood | 2 | Tall floor-standing units, commercial bronze/SS finish. |
| INV-005 | LPG Gas Cylinders | 13 kg domestic refilled cylinders (1x TotalEnergies Orange, 1x K-Gas Green) | 2 | Standard domestic valve fittings, placed near heaters. |
| INV-006 | AC / Equipment Metal Stands | Heavy-duty fabricated black square hollow steel • 1x Wide multi-tier tier rack • 1x Tall condenser cage frame | 2 | Welded metal frames, functional structural condition. |
| INV-007 | Air Conditioning Units | Mixed cooling set: • 1x Von Hotpoint Portable AC • 1x Outdoor Condenser with indoor console | 2 | 1 white portable roller unit, 1 split outdoor unit with top mounted vent/grille. |
| INV-008 | Industrial Pedestal Fans | Heavy-duty oscillating cooling fans: • 1x High-velocity commercial stand fan • 1x Medium fan (black stem, orange blades) | 2 | Complete with round weighted bases and motor heads. |
| INV-009 | Square Panel Exhaust Fans | Dual industrial square plate metal exhaust blowers 4-blade metal impellers | 2 | Industrial grey steel mounting plate, direct-drive motors. |
| INV-010 | Temporary Power Board | Wood batten distribution manifold with 6–8x 13A UK 3-pin switched socket outlets | 1 | Timber board with surface-mounted socket gangs and loop harness. |
| INV-011 | Industrial Power Supply / Unit | Perforated metal casing switching PSU / control box (Labeled CPU / AUD3) | 1 | Silver/grey perforated enclosure with terminal wiring. |
| INV-012 | Utility Crate & Cabling | Blue heavy-duty vented plastic storage crate with coiled industrial power/data harness cables | 1 | High-capacity plastic crate filled with power cables. |
| INV-013 | Used Vehicle Tires | Scrap / spare radial car tires (tubeless) Stacked in 2 columns (4 and 6) | 10 | Used automotive rubber tires in stacked formation. |

| Received & Logged By: ______________________ Date: ________________________ | Verified / Approved By: _____________________ Date: ________________________ |
| --- | --- |